# IEC 62443 COMPREHENSIVE RESEARCH

Security Levels, Foundational Requirements, Zones & Conduits

Supporting the CRL IEC-62443 Cybersecurity Project

December 2025

# 1. EXECUTIVE SUMMARY

This research document provides a comprehensive analysis of the IEC 62443 series of standards, focusing on the key concepts critical to the CRL Cybersecurity Project. The research covers security levels and their application, the seven foundational requirements, zone and conduit architecture, risk assessment methodologies, and detailed process flows at both high and detailed levels.

IEC 62443 is the internationally recognized standard series for cybersecurity in Industrial Automation and Control Systems (IACS). The standards provide a comprehensive framework addressing requirements for asset owners, system integrators, and component suppliers throughout the system lifecycle.

# 2. IEC 62443 STANDARD SERIES OVERVIEW

The IEC 62443 series consists of multiple parts organized into four main categories, each targeting different stakeholders and security aspects of industrial automation systems.

## 2.1 Standard Structure

| Part | Category | Focus & Key Documents |
| --- | --- | --- |
| Part 1-x | General | Terminology, concepts, models, and foundational requirements (1-1) |
| Part 2-x | Policies & Procedures | Security program requirements (2-1), patch management (2-3), service providers (2-4) |
| Part 3-x | System | Risk assessment (3-2), system requirements & security levels (3-3) |
| Part 4-x | Components | Secure development lifecycle (4-1), component technical requirements (4-2) |

## 2.2 Key Documents for CRL Project

- IEC 62443-3-2: Security Risk Assessment for System Design - Defines zones, conduits, and risk methodology

- IEC 62443-3-3: System Security Requirements and Security Levels - Defines SRs mapped to FRs and SLs

- IEC 62443-4-2: Technical Security Requirements for IACS Components - Component-level requirements

- CLC/TS 50701: Railway-specific application of IEC 62443 principles

# 3. SECURITY LEVELS (SL)

Security Levels are a measure of confidence that a system, zone, or conduit is free from vulnerabilities and functions in the intended manner. IEC 62443 defines four security levels (SL 1-4) that correlate required countermeasures with the sophistication of potential attackers.

## 3.1 Security Level Definitions

| Level | Threat Actor | Protection Capability |
| --- | --- | --- |
| SL 0 | No specific threat | No special requirements or protection required |
| SL 1 | Unintentional misuse | Protection against casual or coincidental violation; accidental unauthorized access |
| SL 2 | Low resources, generic skills, low motivation | Protection against intentional violation using simple means with limited resources |
| SL 3 | Moderate resources, IACS-specific skills | Protection against sophisticated attacks with moderate resources and IACS-specific knowledge |
| SL 4 | Extended resources, high motivation | Protection against state-sponsored attacks using sophisticated means with extensive resources |

## 3.2 Types of Security Levels

IEC 62443 defines three types of security levels used throughout the lifecycle:

| SL Type | Definition | Application |
| --- | --- | --- |
| SL-T (Target) | Desired security level for a zone/conduit | Set by asset owner during risk assessment; documented in Cybersecurity Requirements Specification |
| SL-C (Capability) | Native security capabilities of a system/component | Defined in IEC 62443-3-3 (systems) and 4-2 (components); used for product selection |
| SL-A (Achieved) | Actual measured security level in operation | Determined through verification and validation testing; may include compensating countermeasures |

## 3.3 Security Level Vector

The security level of a zone or conduit is more precisely a security level vector with seven elements, one for each foundational requirement. This allows different security levels for different requirements based on risk assessment.

Example vectors: SL=(3,3,3,1,2,1,3) or SL=(2,2,2,0,1,1,0)

# 4. FOUNDATIONAL REQUIREMENTS (FR)

IEC 62443-1-1 defines seven Foundational Requirements (FRs) that form the basis of all technical security requirements. These FRs expand the traditional CIA triad (Confidentiality, Integrity, Availability) to address the unique requirements of industrial control systems.

| FR | Requirement | Description |
| --- | --- | --- |
| FR 1 | Identification & Authentication Control | Reliably identify and authenticate all users (humans, software processes, and devices) attempting to access the IACS |
| FR 2 | Use Control | Enforce assigned privileges of authenticated users to perform requested actions on the system; monitor use of privileges |
| FR 3 | System Integrity | Ensure the integrity of the IACS to prevent unauthorized manipulation of system functions and data |
| FR 4 | Data Confidentiality | Ensure confidentiality of information on communication channels and in data repositories; prevent unauthorized disclosure |
| FR 5 | Restricted Data Flow | Segment the control system via zones and conduits to limit unnecessary flow of data and enable defense-in-depth |
| FR 6 | Timely Response to Events | Respond to security violations by notifying proper authority, reporting evidence, and taking timely corrective action |
| FR 7 | Resource Availability | Ensure availability of the control system against degradation or denial of essential services |

## 4.1 System Requirements (SR) and Requirement Enhancements (RE)

Each Foundational Requirement contains multiple System Requirements (SRs) and Requirement Enhancements (REs). IEC 62443-3-3 Annex B provides a comprehensive mapping of SRs and REs to security levels.

- System Requirements (SR): Baseline requirements for system hardening against each FR

- Requirement Enhancements (RE): Additional requirements to strengthen security beyond baseline

Note: There are significant gaps between SL1 and SL2, with a good balance maintained between SL2 and SL3. SL4 requirements are extensive and comparable to safety-critical SIL4 requirements.

# 5. ZONES AND CONDUITS (ZCR)

The zone and conduit model is fundamental to IEC 62443 and provides the framework for network segmentation and defense-in-depth. IEC 62443-3-2 establishes requirements for partitioning an IACS into zones and conduits based on risk assessment.

## 5.1 Core Definitions

ZONE A logical or physical grouping of assets (physical or logical) that share common security requirements. Zones divide a system into homogeneous areas by grouping assets with the same Security Level (SL) requirements. Key Characteristics: - Zones have defined boundaries separating internal from external elements - Zones can contain sub-zones enabling defense-in-depth - All assets in a zone share the same cybersecurity requirements - Each zone has an assigned Security Level Target (SL-T)

CONDUIT A logical or physical grouping of communication channels connecting two or more zones that share common security requirements. Conduits control the access to zones and secure the integrity of network traffic. Key Characteristics: - Conduits provide security functions enabling secure communication - Conduits allow zones with different security levels to coexist - A conduit cannot have sub-conduits (unlike zones) - A zone can have more than one conduit

## 5.2 Zone Partitioning Criteria

IEC 62443-3-2 specifies the following criteria for partitioning a System under Consideration (SuC) into zones:

- Risk to assets: Integrity, availability, and confidentiality requirements

- Interface types: Types of connections (e.g., wireless vs. wired)

- Location: Physical or logical location of assets

- Access requirements: Who needs access and how

- Operational function: What the assets do

- Organizational responsibility: Who manages each asset

- Safety aspects: Safety-related vs. non-safety assets

- Technology lifecycle: Product lifecycle, obsolescence considerations

## 5.3 Zone Design Principles

- Business assets (IT) and control assets (OT) should be in separate zones

- Safety-related assets shall be in dedicated zones, logically or physically separated

- Temporarily connected devices should be in separate zones

- Wireless devices should be in zones separate from wired devices

- Remote access devices should be grouped into separate zones

- Zones should contain security devices at perimeter edges

# 6. RISK ASSESSMENT PROCESS

IEC 62443-3-2 defines a structured risk assessment methodology consisting of two main phases: Initial Risk Assessment and Detailed Risk Assessment. This risk-based approach ensures security measures are proportionate to actual risks.

## 6.1 Zone and Conduit Requirements (ZCR) Process Overview

The ZCR process follows nine key steps from identification through operation:

| Step | Activity | Output |
| --- | --- | --- |
| ZCR 1 | Identify Assets & SuC | Asset inventory, system boundaries, proposal zone model |
| ZCR 2 | Initial Risk Assessment | Corporate risk identification, impact evaluation |
| ZCR 3 | Partition into Zones | Zone/conduit definitions, SL-T proposals, communication matrix |
| ZCR 4 | High-Level Risk Assessment | Verified high-level zone model, threat landscape |
| ZCR 5 | Detailed Risk Assessment | Final zone model, countermeasures, residual risk assessment |
| ZCR 6 | Document Requirements | Cybersecurity Requirements Specification (CRS) |
| ZCR 7 | Approval | Stakeholder sign-off, resource commitment |
| ZCR 8 | Migration | Implementation of security architecture |
| ZCR 9 | Operation/Run | Continuous monitoring and review |

## 6.2 Initial Risk Assessment (IRA)

The Initial Risk Assessment is the starting point for risk analysis. Its purpose is to:

- Define the scope of future assessments

- Establish the zone and conduit diagram

- Establish initial security level targets for devices

- Identify high-risk areas for further analysis

Key principle: The IRA assumes a threat likelihood of one and focuses on evaluating the worst-case scenario if a cyber asset is compromised.

## 6.3 Detailed Risk Assessment (DRA)

The Detailed Risk Assessment provides a robust understanding of threats and countermeasures. It involves:

- Threat identification: Record all assets, threat agents, and threat actions

- Vulnerability identification: Identify credible vulnerabilities through independent review

- Unmitigated risk determination: Assess risk before applying countermeasures

- Security level target assignment: Assign SL-T to each zone/conduit for each FR

- Countermeasure identification: Evaluate existing and required countermeasures

- Residual risk determination: Calculate remaining risk after countermeasures

# 7. PURDUE REFERENCE MODEL

IEC 62443 references the Purdue Enterprise Reference Architecture (PERA) as a conceptual framework for describing how data flows through industrial networks. While PERA was not designed as a cybersecurity model, it provides useful context for zone and conduit design.

## 7.1 Purdue Model Levels

| Level | Name | Description |
| --- | --- | --- |
| Level 5 | Enterprise Network | Corporate IT systems, business applications, internet connectivity |
| Level 4 | Site Business Planning | Site-level business systems, scheduling, logistics |
| Level 3.5 | DMZ (Industrial) | Demilitarized zone between IT and OT; security controls, data historians |
| Level 3 | Site Operations | SCADA, HMI, data historian, engineering workstations |
| Level 2 | Area Supervisory Control | Local HMIs, area control systems |
| Level 1 | Basic Control | PLCs, RTUs, DCS controllers, intelligent devices |
| Level 0 | Physical Process | Field devices, sensors, actuators, valves, pumps |

## 7.2 Purdue Model vs. Zones and Conduits

Important distinction: The Purdue hierarchy is a functional/logical hierarchy rather than a physical one. IEC 62443 zones and conduits provide a more flexible approach to segmentation that can accommodate modern architectures including IIoT and cloud services.

The zone and conduit model is now emphasized over strict Purdue levels in recent editions of IEC 62443-1-1, as it allows for risk-based partitioning regardless of physical hierarchy.

# 8. APPLICATION TO CRL PROJECT

This section summarizes how the IEC 62443 concepts apply to the CRL IEC-62443 Cybersecurity Project and its 14 Systems Under Consideration (SUC).

## 8.1 Alignment with Project Phases

| CRL Phase | IEC 62443 Process | Key Deliverables |
| --- | --- | --- |
| Phase 1 | ZCR 1: Asset Identification | Clear SUC definition, Out of Scope systems, CSMP structure |
| Phase 2 | ZCR 2-4: Risk Assessment | Zone & Conduit diagrams, SL-T assignments, Draft CSMP |
| Phase 3 | ZCR 5: Detailed Assessment | Workshop outcomes, Updated DRA, Asset Register with SL requirements |
| Phase 4 | ZCR 6-7: Documentation | Final CSMP, Risk Ledger, Handover Plan |
| Phase 5 | Validation & Verification | Unit testing, Executive reports, Remediation plans |

## 8.2 Key Recommendations for CRL

- Establish SL-T vector for each SUC: Define target security levels for each of the 7 FRs per system

- Apply zone criticality (ZC) levels: Use communication matrix to validate data flows

- Separate safety-related systems: Ensure TVCS and other safety systems are in dedicated zones

- Document compensating countermeasures: Where SL-C < SL-T, identify and document compensating controls

- Align with AT/KR frameworks: Map IEC 62443 requirements to existing NIST-based approaches

# 9. REFERENCES AND SOURCES

## 9.1 Primary Standards

- IEC 62443-1-1: Terminology, concepts and models

- IEC 62443-3-2: Security risk assessment for system design

- IEC 62443-3-3: System security requirements and security levels

- IEC 62443-4-1: Secure product development lifecycle requirements

- IEC 62443-4-2: Technical security requirements for IACS components

- CLC/TS 50701:2021 - Railway applications: Cybersecurity

## 9.2 Supplementary Resources

- ENISA: Zoning and Conduits for Railways - Security Architecture (February 2022)

- ISA Global Cybersecurity Alliance (ISAGCA) Quick Start Guides

- NIST SP 800-82: Guide to Industrial Control System (ICS) Security

- Dragos: Understanding ISA/IEC 62443 - A Guide for OT Security Teams

— END OF RESEARCH DOCUMENT —